## Slide 1: EM-IR Performances summary
MAJIS-IR FPA
Paolo Haffoud, Y. Langevin, F. Poulet & MAJIS team

## Slide 2
Prepare and test IAS microcodes with SAM and PE
Prepare and test the BIRD setup (H/W and S/W)
Prepare the FM/FS characterization campaign
Clarify FPA Temperature estimation
Evaluate FPA performances and comparison with TIS measurements:
  Dark Current characterization
  Noise characterization
EM-IR Characterization objectives

## Slide 3
EM-IR Characterization objectives
Prepare and test IAS microcodes with SAM and PE
Prepare and test the BIRD setup (H/W and S/W)
Prepare the FM/FS characterization campaign
Clarify FPA Temperature estimation
Evaluate FPA performances and comparison with TIS measurements:
  Dark Current characterization
  Noise characterization

## Slide 4
Setup used
Monochromator
IR emitter
Vaccum Tank
Pump
FPU

## Slide 5
Summary of series available for performance analysis
 | FPA Temperatures (K) | FPE Temperatures (K) | N° Series (512x1024 – 16 CDS images)
Slow 100kHz | 84 | 141 | 4
 | 88 | 141 | 2
 | 89 | 140-145 | 11
 | 90 | 140 | 2
 | 91 | 140 | 2
 | 94 | 141 | 2
 | 98 | 142 | 2
Slow 1MHz | 84 | 141 | 6
 | 88 | 141 | 2
 | 89 | 140-154 | 22
 | 90 | 155 | 2
Slow 100kHz | 72 | 120 | 2
Slow 1MHz | 72 | 120 | 2

## Slide 6
Two FPA temperature sensors available:
Cernox sensor, directly on the FPA (Not nominal, 11K inaccuracy reported by Teledyne at room temperature)
PT100 calibrated and nominal, on the external face of the FPU (do not provide the temperature of the FPA)
FPA Temperature

## Slide 7
Basepoint for temperature estimation
The 68K FPA temperature setpoint subtraction eliminates any residual straylight.
Comparison with TIS measurements: the 86K setpoint leads to a 90K FPA temperature.

## Slide 8
Basepoint for temperature estimation
Actual FPA T° (K) | Setpoint (K) | Cernox (K) | PT100 (K)
90 | 86 | 101.08 | 88.63

## Slide 9
PT100 Error
Because the PT100 is on the FPU, its response to temperature changes is delayed.
The Cernox error is assumed to be negligible.
From measurements the precision of the PT100 is: /

## Slide 10
FPA Image at 90K
Top Half
Bottom Half

## Slide 11
EM Dark Current Slow 100kHz

## Slide 12
EM Dark Current Slow 1MHz

## Slide 13
FPA Noise model
For any given pixel, the noise model is :
where R is the read-out noise, S is the signal measured on the pixel due to the dark current and the incoming photon-flux.

## Slide 14
EM Read-out Noise Slow 100kHz – REFERENCE PIXELS
Connected pixels
CDR Expectations

## Slide 15
Operability 90K vs 98K
90K
98K
Operability decreases with increasing temperature
Quantitative analysis required to accurately estimate the decrease in operability

## Slide 16
Conclusions and Lessons Learned
Very difficult to eliminate all the straylight but subtraction of residual signal (<300 e-) at low temperature makes possible to evaluate the performances of FPA @ operating larger temperatures
Dark does not follow perfectly the rule of 07
Dark does not increase with increasing FPE T°
Noise model well understood
Operability decreases with increasing T°
Operations:
  Provide thermal constraints (FPE T°)
  Provide time overhead
  Fine-tune the acquisitions